DL-14

Description

| Luminaire Type | : | Linear Downlight on Surface Mounted Profile |
| --- | --- | --- |
| Luminaire Reference | : | DELTA – M-DOT.COM M4 92714 DIM5 (23355 9215 B-B) or Equal |
| Lamp | : | 4xLED 1.4W/48V-DC/153lm(111.75lm)/14°/2700K/IP20/CRI>90 |
| Lamp Reference | : | LED by Manufacture |
| Gears | : | LED Power Supply Remote Electronic Transformer Dimmable DALI Suggested by Manufacture (or Dimmable to 0,1%) |
| Accessories | : |  |

Dimension

| Height | : | 45 mm |
| --- | --- | --- |
| Width | : | 20 mm |
| Length | : | 110 mm (208 mm) |

Technical Specification

| Housing | : | Black-Black Finish |
| --- | --- | --- |
| Light Distribution | : | 14° |
| Adjustment | : | Non-Adjustable |
| Approval | : | IP 20 |
| Transformer | : | Remote Electronic Transformer Dimmable DALI Suggested by Manufacture (or Dimmable to 0,1%) |

Photometric