Description

| Luminaire Type | : | Recessed Adjustable Downlight |
| --- | --- | --- |
| Luminaire Reference | : | DELTA – DIRO ST OK LED 92733 (202 292 811 922 B) or Equal |
| Lamp | : | LED 7.1-10.4W/350-500mA-DC/743-1032lm(685lm)/33°/2700K/IP23/IP20/CRI>90 |
| Lamp Reference | : | LED by Manufacture |
| Gears | : | LED Power Supply Remote Electronic Transformer Dimmable DALI Suggested by Manufacture (or Dimmable to 0,1%) |
| Accessories | : |  |

DL-AC

Dimension

| Height | : | 100 mm |
| --- | --- | --- |
| Cut Out Diameter | : | 76 mm |
| Diameter | : | 82 mm |

Technical Specification

| Housing | : | Black Finish |
| --- | --- | --- |
| Light Distribution | : | 33° |
| Adjustment | : | Adjustable, Tilt 0° – 20°, Rotation 350° |
| Approval | : | IP 23/20 |
| Transformer | : | Remote Electronic Transformer Dimmable DALI Suggested by Manufacture (or Dimmable to 0,1%) |

Photometric